## Slide 1: Electrical Service Design of A 16 Storeyed Building
Project By- (Group 2)
Tonmoy Roy(1706036)
Al Hasib (1706037)
Fariza Siddiqua(1706043)
Shoumik Debnath(1706050)
Swadesh Vhakta(1706061)
Imtiaz Ahmed(1706062)
Mehedi Hasan Megh(1706065)

## Slide 2: Topics
Building Overview
Floor Plans
  Floor Plan : Ground Floor
  Floor Plan : Garage
  Floor Plan : Typical Floor
Fittings and Fixtures
  Fittings and Fixtures : Ground Floor
  Fittings and Fixtures : Garage
  Fittings and Fixtures : Typical Floor
Conduit Layout
  Conduit Layout : Ground Floor
  Conduit Layout : Garage
  Conduit Layout : Typical Floor
Emergency Conduit Layout
  Emergency Conduit Layout : Ground Floor
  Emergency Conduit Layout : Garage
  Emergency Conduit Layout : Typical Floor
6. Lightning Protection System(with Calculation)
7 . SwitchBoard Connection Diagram(with Calculation)
Ground Floor
Garage
Typical Floor
8. Emergency SwitchBoard Connection Diagram(with Calculation)
Ground Floor
Garage
Typical Floor
8. Sub Distribution Board Diagram(with Calculation)
Ground Floor
Garage
Typical Floor
9. Emergency Sub Distribution Board Diagram(with calculation)
Ground Floor
Garage
Typical Floor
10. Load Calculation Sample
11 . Substation Layout
12. Reference

## Slide 3: Building Overview
We are designing a 16 storeyed Building.
There are 2 Units per floor.
We have 3 different types of floor designs
  Ground Floor : Mainly works as an entrance for cars and pedestrians and Substation is situated Here.
  Garage : Our 2nd and 3rd Floors are used as a garage to accommodate cars.
  Typical Floors : This represents our Apartment designs which follows a common plan for all 16 storeys.
Lighting Protection system is added to prevent damages during lightning.
A Transformer and Generator is added to our substation situated in the ground floor.

## Slide 4: Floor Plans

## Slide 5: Ground Floor

## Slide 6: Garage

## Slide 7: Garage

## Slide 8: Typical Floor

## Slide 9: Fittings and Fixtures

## Slide 10: Ground Floor
Substation is situated on the right side of the design.
A guard room is provided under the car stair with proper arrangements.
Stairs are also shown.

## Slide 11: Garage

## Slide 12: Typical Floor

## Slide 13: Conduit Layout

## Slide 14: Ground Floor

## Slide 15: Garage
5 switch boards are used to control the lights.

## Slide 16: Typical Floor
C1 (5 Amp) conduits are used for all fans and lights.
C8(15 Amp) conduits are used for 3 pin sockets.

## Slide 17: 3 pin outlet conduit connections

## Slide 18: Conduit Schedule

## Slide 19: Emergency Conduit Layout

## Slide 20: Ground Floor

## Slide 21: Garage

## Slide 22: Typical Floor

## Slide 23: Lightning Protection System

## Slide 24: Lightning Protection System
Air conductor
Ground conductor
Roof conductor

## Slide 25: Calculation For Lightning Protection System
Building Length= 80’5”
Building width= 45’2”
Air conductor calculation:
1 conductor at each of the four corners
Maximum distance between 2 air conductor= 25’ (arbitrary estimation)
So along length 3 air conductor is needed where distance between 2 consecutive air conductors is 20’1.2”
And along width 1 air conductor is needed where distance between to consecutive air conductors is 22.58’
The area of the rooftop of the building is 80’5” x 45’2”= 24.5x13.77 m2= 337.365 m2
Number of down conductors = one for first 80 sq metres, one more for each 100 sq metres
So total down conductor = 3
Reference: Lab sheet

## Slide 26: Switchboard Connection Diagram

## Slide 27: Ground Floor

## Slide 28: Garage

## Slide 29: Typical Floor
7

## Slide 30: Typical Floor

## Slide 31: Typical floor

## Slide 32: Emergency Switchboard Connection Diagram

## Slide 33: Ground Floor

## Slide 34: Garage

## Slide 35: Typical Floor

## Slide 36: Sub Distribution Board Diagram

## Slide 37: Ground Floor

## Slide 38: First Floor Parking

## Slide 39: Second Floor Parking

## Slide 40: Typical Floor

## Slide 41: SDB-Typical Floor Plan:Calculations
Under the switchboard SBA1,
Loads: Ceiling light-1x20 watts
Tubelight-2x30 watts
Wall-bracket light-1x20 watts
2-pin outlet-1x80 watts
Total load=180 watts; Total current=400/(220x0.8)=1.027 Amps. Using this method we get for other switchboards-SBA2=1.82A;SBA3=1.82A;SBA4=1.93A;SBA5=3.3523A;SBA6=4.5454A;SBA7=1.93A;SBA8=1.93A;SBA9=2.63A;SBA10=2.63A;SBA11=2.84A;SBA12=4.84A;SBA13=2.5A;SBA14=1.93A;SBA15=1.93A. Total=37.6547A
For 3-pin outlets=each have wattage of 3000 watts. Total current for 3-pins=(3000x15x0.3)/(220x0.8)=76.7A
Net total=76.7+37.6547=114.3547A

## Slide 42: Emergency Sub Distribution Board Diagram

## Slide 43: Ground Floor

## Slide 44: Garage

## Slide 45: Typical Floor

## Slide 46: Load Calculation Sample

## Slide 47: Load Calculation Sample
We are designing a 16 storeyed Building.There are 2 Units per floor.
We calculated load for one unit first and then multiplied it by 32.Finally added overall building load.
Load of a unit:
Item Name | Item Quantity | Watt for Item(W) | Total (W)
Lintel Light | 30 | 30*20*0.8 = 480 | 10764
Tube light | 11 | 11*30*0.8 = 264 | 
Fan | 7 | 7*100*0.8 = 560 | 
2 Pin Socket | 20 | 20*300*0.8 = 4800 | 
3 Pin Socket | 15 | 15*1500*0.2 = 4500 | 
Exhaust fan | 5 | 5*40*0.8 = 160 | 

## Slide 48: Load Calculation Sample
Load of a unit is 12146
Total Load for 32 Units = 12146*32 = 388672 W = 388.672 KW
Other Loads for whole building:
Grand Total Load = 344.448 + 7.452 = 351.9 KW
Item Name | Item Quantity | Watt for Item(W) | Total (W)
Lintel Light | 83 | 83*20*0.6 = 996 | 7452
Double light | 66 | 66*40*0.6 = 1584 | 
Exhaust fan | 3 | 3*40*0.6 = 72 | 
Total lift Load | 2 | 2*4000*0.6 = 4800 | 

## Slide 49: Substation Layout

## Slide 50: Substation Layout
Located in the ground floor
Easily accessible from outside for HT side but not from inside to ensure safety
Proper ventilation and lighting ensured

## Slide 51: Substation Area Calculation
Total Substation area without Generators = ((25*35) + (16*15)) sqft
= ((7.62*10.668)+(4.87*4.572)) sqm
= 103.55 sqm
As we have used 1 transformer of 400 KVA of capacity, our minimum dimension of substation without generator was required 48 sqm.
We have designed it as required, which is verified through our calculation.

## Slide 52: Reference

## Slide 53: References

## Slide 54: References